## Slide 1
Department of Electronics and communication Engineering
Internship Seminar Presentation
on
“Integrated Control and Instrumentation System Design at power plant”
Student Name : MADHU K M
Student USN : 1DA20EC071
Under the Guidance of Mr.Mariswamy
Engineer(Thermal Designs)
KPCL,Green Building,Palace Road

## Slide 2
Integrated Control and Instrumentation System Design at power plant
Abstract
About the industry/organization
Introduction to the internship work
Technical Details about work carried out
Outcomes of Internship
Conclusion
References
Dept. of ECE, Dr. AIT
CONTENTS

## Slide 3
Integrated Control and Instrumentation System Design at power plant
ABSTRACT
This study explores the strategies employed by Karnataka Power Corporation Limited (KPCL) to enhance operational efficiency and sustainability in power generation.
KPCL, a leading power generation company in India, faces various challenges, including environmental concerns, regulatory compliance, and technological advancements.
The research highlights KPCL's implementation of modern technologies, such as renewable energy integration, advanced monitoring systems, and efficient resource utilization.

## Slide 4
Integrated Control and Instrumentation System Design at power plant
ABOUT THE INDUSTRY/ORGANIZATION
Karnataka Power Corporation Limited (KPCL) is a major power generation company founded in 1970 and fully owned by the Government of Karnataka. KPCL focuses on investigating, identifying, and constructing power generation projects in Karnataka.
It operates a diverse range of power projects, including hydroelectric, thermal, wind, and solar energy, with a total installed capacity of 8738.30 MW. KPCL is also developing a 370 MW gas plant, an 11.5 MW waste-to-energy plant, and a 2000 MW pumped storage plant.
KPCL is committed to excellence in power generation and has received several awards for its outstanding performance.
KPCL aims to achieve excellence in power engineering, focusing on efficiency, cost control, and environmental harmony.
KPCL strives to be a world-class power generation organization, providing reliable, sustainable, and cost-effective energy solutions to drive economic growth and improve the quality of life in Karnataka.

## Slide 5
Integrated Control and Instrumentation System Design at power plant
Introduction to the internship work
Gas power plants, also known as natural gas-fired power plants, generate electricity using natural gas as their primary fuel. There are two main types of gas power plants:
1]Open Cycle Gas Turbine (OCGT) plants
2]Combined Cycle Gas Turbine (CCGT) plants.
Open Cycle Gas Turbine (OCGT) Power Plant
Air Intake: Ambient air is drawn into the gas turbine compressor.
Compression: The compressor increases the air pressure and density.
Combustion: Compressed air is mixed with fuel (usually natural gas) and ignited in the combustion chamber, producing high-temperature, high-pressure gases.
Expansion: The hot gases expand and pass through the turbine, causing it to rotate.
Electricity Generation: The rotating turbine shaft is connected to a generator, converting mechanical energy into electrical energy.
Exhaust: The cooled exhaust gases are released into the atmosphere.

## Slide 6
Integrated Control and Instrumentation System Design at power plant
TECHNICAL DETAILS ABOUT WORK CARRIED OUT
Combined Cycle Gas Turbine (CCGT) Power Plant
Gas Turbine Cycle:
  Air Intake and Compression: Ambient air is drawn into the gas turbine compressor, where it is compressed.
  Combustion: Compressed air is mixed with fuel and ignited in the combustion chamber, creating high-temperature, high-pressure gases.
  Expansion and Electricity Generation: The hot gases expand through the gas turbine, generating mechanical energy, which is converted into electricity by a generator.
Heat Recovery:
  The exhaust gases from the gas turbine, still containing significant thermal energy, are directed into a Heat Recovery Steam Generator (HRSG).
Steam Turbine Cycle:
  Steam Production: The HRSG captures the exhaust heat to produce high-pressure steam.
  Steam Expansion and Electricity Generation: The steam drives a steam turbine, generating additional mechanical energy, which is converted into electricity by another generator.
CCGT plants are more efficient than OCGT plants because they use both gas and steam turbines, maximizing energy output by recovering waste heat from the gas turbine.

## Slide 7
Integrated Control and Instrumentation System Design at power plant
TECHNICAL DETAILS ABOUT WORK CARRIED OUT
CONTROL SYSTEMS IN KPCL POWER PLANT
The control systems in KPCL (Karnataka Power Corporation Limited) power plants are essential for ensuring the efficient and safe operation of the plant. These systems include Distributed Control Systems (DCS), Supervisory Control and Data Acquisition (SCADA) systems, and Programmable Logic Controllers (PLC).
The various types of control systems in KPCL power plants are:
• Distributed Control Systems (DCS): DCS is a centralized control system that monitors and controls multiple processes or units within the power plant from a central location. It allows for real-time data acquisition, process control, and alarm management.
•Supervisory Control and Data Acquisition (SCADA): SCADA systems are used for remote monitoring and control of various equipment and processes in the power plant. They collect data from sensors and devices, display it to operators, and allow for control actions to be taken as needed.
•Programmable Logic Controllers (PLC): PLCs are used for controlling specific processes or equipment within the power plant. They are programmable and can be customized to perform various tasks such as regulating flow rates, controlling valves, and managing safety interlocks.

## Slide 8
Integrated Control and Instrumentation System Design at power plant
TECHNICAL DETAILS ABOUT WORK CARRIED OUT
•Protection Systems: These systems are responsible for monitoring the health and safety of equipment in the power plant. They detect abnormal conditions such as overloads, faults, and short circuits, and take corrective actions to prevent damage to the equipment and ensure the safety of personnel.
•Emergency Shutdown Systems (ESD): ESD systems are designed to quickly shut down the power plant in case of emergencies or unsafe conditions. They are equipped with sensors and logic controllers that automatically initiate shutdown procedures when certain predefined criteria are met.
•Turbine Control Systems: These systems regulate the operation of turbines in the power plant to maintain stable output and optimize efficiency. They control parameters such as steam flow, pressure, and temperature to ensure smooth operation and prevent damage to the turbine.
•Boiler Control Systems: Boiler control systems regulate the combustion process and steam generation in boilers to maintain optimal conditions for power generation. They control parameters such as fuel flow, air flow, and water level to maximize efficiency and safety.
•Generator Control Systems: These systems monitor and control the output of generators in the power plant. They regulate parameters such as voltage, frequency, and reactive power to maintain grid stability and ensure reliable power delivery.

## Slide 9
Integrated Control and Instrumentation System Design at power plant
TECHNICAL DETAILS ABOUT WORK CARRIED OUT
Working procedure of control systems in KPCL power plants
Data Acquisition: Control systems continuously gather data from various sensors and instruments installed throughout the power plant. These sensors monitor parameters such as temperature, pressure, flow rates, voltage, and current.
Data Processing: The collected data is processed by the control system software, which analyzes it to determine the current state of the power plant and identify any deviations from normal operating conditions.
Control Algorithms: Based on the processed data and predefined control algorithms, the control system determines the appropriate control actions to be taken to maintain optimal operation. These control actions may include adjusting valve positions, changing setpoints, or initiating safety measures.
Actuation: The control system sends commands to actuators, such as control valves, pumps, motors, and switches, to implement the desired control actions. Actuators adjust the operation of equipment and processes in real-time to achieve the desired outcomes.

## Slide 10
Integrated Control and Instrumentation System Design at power plant
TECHNICAL DETAILS ABOUT WORK CARRIED OUT
Communication
Communication plays a vital role in the control systems of KPCL power plants by facilitating the exchange of information between various components and systems within the plant.
Interconnectedness: Control systems in KPCL power plants consist of numerous subsystems, such as distributed control systems (DCS), supervisory control and data acquisition (SCADA) systems, programmable logic controllers (PLCs), and safety systems. Communication allows these subsystems to interact seamlessly, sharing data and coordinating control actions across the plant.
Real-Time Monitoring: Communication enables real-time monitoring of equipment and processes throughout the power plant. Sensors and instruments continuously collect data on parameters such as temperature, pressure, flow rates, and electrical signals, which are transmitted to control systems for analysis and decision-making.
Remote Control: Communication technologies allow operators to remotely monitor and control equipment and processes from centralized control rooms or even off-site locations. This capability enhances operational flexibility, efficiency, and safety by enabling timely responses to changes in operating conditions or emergencies.

## Slide 11
Integrated Control and Instrumentation System Design at power plant
TECHNICAL DETAILS ABOUT WORK CARRIED OUT
Control room

## Slide 12
Integrated Control and Instrumentation System Design at power plant
OUTCOMES OF INTERNSHIP
Enhanced Technical Knowledge:
Understanding C&I Systems: Acquired in-depth knowledge of Control and Instrumentation systems, including their components, functionality, and role in power plant operations.
Practical Experience:
Hands-On Operation: Developed practical skills in operating the CCPP using central control room equipment such as monitors, keyboards, and mice.
Real-Time Problem Solving: Learned to take real-time corrective actions in response to process drifts or unsafe conditions, enhancing problem-solving abilities under various operational regimes.
Operational Efficiency:
Fuel Consumption and Emission Reduction: Assisted in implementing strategies that lead to cost-effective power generation with ideal fuel consumption and reduced emission levels.
Safety and Compliance:
Safety Protocols: Understood and applied safety protocols during different operational stages such as startup, shutdown, normal, and emergency conditions.
Environmental Compliance: Supported initiatives to ensure the plant meets environmental standards and regulations, contributing to sustainability goals.

## Slide 13
Integrated Control and Instrumentation System Design at power plant
CONCLUSION
The internship at the combined cycle power plant has been an experience, providing us with hands-on knowledge of Control and Instrumentation systems and the Distributed Digital Control Monitoring and Information System (DDCMIS). We have learned to enhance operational efficiency, optimize fuel consumption, and reduce emissions, contributing to sustainable power generation.
This experience has also developed our teamwork and communication skills, preparing us for future roles in the control system.
Overall, the internship has equipped us with the technical expertise and practical skills needed to excel in the field of power generation.

## Slide 14
Integrated Control and Instrumentation System Design at power plant
REFERENCES
[1] "Growth of Electricity Sector in India from 1947–2020" (PDF). Central Electricity Authority. October 2020. Archived (PDF) from the original on 27 October 2021. Retrieved 22 September 2021.
[2] "BP Statistical Review of World Energy 2021 (page 63)" (PDF). Archived from the original (PDF) on 12 December 2021. Retrieved 23 November 2021.
[3] "Tariff & duty of electricity supply in India". report. CEA, Govt. of India. March 2014. Archived from the original on 26 August 2015. Retrieved 27 October 2015.
[4] "Koyala Darpan / Coal Dashboard". Archived from the original on 16 February 2022. Retrieved 17 February 2022.
[5] "Global electricity review-India". 28 March 2021. Archived from the original on 29 March 2021. Retrieved 30 March 2021.
[6] "National Electricity Plan, 2022-27" (PDF). September 2022. Archived (PDF) from the original on 14 September 2022. Retrieved 14 September 2022.
[7] Arasu, Sibi (1 June 2023). "Next green leader? India halts new coal plant construction". The Christian Science Monitor. Archived from the original on 15 August 2023. Retrieved 15 August 2023.

## Slide 15
Title of internship
Thank You